## Certificate
校準證書
壓力錶
證書編號 |  | [CertificateNumber] | [6 empty] | 執行日期 |  | [ExecuteDate]
被檢表信息
| 唯一標識： |  | [Identity] |  |  |  | 製造廠商： | Make | [Make]
| 描述： |  | [Description] |  |  |  | 應用場合： | Customer Address | [Location]
| 型號： |  | [Model] |  |  |  | 校準日期： | Date of Calibration | [DateOfCalibration]
| 序號： |  | [SerialNumber] |  |  | 下次校準日期： |  |  | [NextCalibrationDue]
| 送檢單位： |  | [CustomerName]
任務資訊
| 任務名稱 : |  | [TaskName] |  |  |  |  | 量程 : | [Range]
| 溫度 : |  | [Temperature] |  |  |  |  | 精度 : | [Accuracy]
|  | 濕度 : | [Humidity] |  |  |  |  | 分辨力 : | [Division]
|  | 操作員 : | [CalibratedBy] |  |  |  |  | 輕敲變動 : | [Tapping]
|  | 資料格式 : | [DataMode] |  |  |  |  | 迴圈次數 : | [Cycles]
標準器資訊
| 序號 |  | 型號 |  | 製造廠商 |  | 證書編號 |  | 允許誤差 | 有效期 | 描述
| [SerialNo1] |  | [Model] |  | [Make1] |  | [CertificateNo1] |  | [Tolerance1] | [Expires] | [Description1]

## AsFound
校準結果
| 校準前 |  | 允許誤差 |  | 最大值
| 示值誤差 |  | [IndicatorErrorTolerance] |  | [IndicatorErrorMAX]
| 回程誤差 |  | [HysteresisErrorTolerance] |  | [HysteresisErrorMAX]
校準前數據
證書編號: | [CertificateNumber]
校準迴圈 1
編號 | 標準值 |  | 輕敲後示值 |  | 回程誤差 (%) | 示值誤差 (%) | 結果
| 上行程 | 下行程 | 上行程 | 下行程
校準迴圈 2
編號 | 標準值 |  | 輕敲後示值 |  | 回程誤差 (%) | 示值誤差 (%) | 結果
| 上行程 | 下行程 | 上行程 | 下行程
校準迴圈 3
編號 | 標準值 |  | 輕敲後示值 |  | 回程誤差 (%) | 示值誤差 (%) | 結果
| 上行程 | 下行程 | 上行程 | 下行程
=== 校準前數據結束 ===

## AsLeft
校準結果
| 校準後 |  | 允許誤差 |  | 最大值
| 示值誤差 |  | [IndicatorErrorTolerance] |  | [IndicatorErrorMAX]
| 回程誤差 |  | [HysteresisErrorTolerance] |  | [HysteresisErrorMAX]
校準後數據
證書編號: | [CertificateNumber]
校準迴圈 1
編號 | 標準值 |  | 輕敲後示值 |  | 回程誤差 (%) | 示值誤差 (%) | 結果
| 上行程 | 下行程 | 上行程 | 下行程
校準迴圈 2
編號 | 標準值 |  | 輕敲後示值 |  | 回程誤差 (%) | 示值誤差 (%) | 結果
| 上行程 | 下行程 | 上行程 | 下行程
校準迴圈 3
編號 | 標準值 |  | 輕敲後示值 |  | 回程誤差 (%) | 示值誤差 (%) | 結果
| 上行程 | 下行程 | 上行程 | 下行程
=== 校準後數據結束 ===

## OriginalData (hidden)
Task Information
| TaskName | P.Form | Range | Accuracy | Division | Tapping | DataMode | SetPoint | Cycles | TaskState | Humidity | Temperature | ExecuteDate
[TaskInformation] | [TaskName] | [PForm] | [Range] | [Accuracy] | [Division] | [Tapping] | [DataMode] | [SetPoint] | [Cycles] | [TaskState] | [Humidity] | [Temperature] | [ExecuteDate]
Instrument Information
| Certificate Number | Customer Name | Customer Address | Customer Reference | Calibrated By | Description | Serial Number | Identity | Make | Model | Date of Calibration | Next Calibration Due | Remarks | Location
[InstrumentInformation] | [CertificateNumber] | [CustomerName] | [CustomerAddress] | [CustomerReference] | [CalibratedBy] | [Description] | [SerialNumber] | [Identity] | [Make] | [Model] | [DateOfCalibration] | [NextCalibrationDue] | [Remarks] | [Location]
Reference Information
| Description | Make | Serial No | Tolerance | Certificate No | Expires | Model
[ReferenceInformation] | [Description1] | [Make1] | [SerialNo1] | [Tolerance1] | [CertificateNo1] | [Expires] | [Model]
Calibration Report
| Indicato rError Tolerance | Indicator Error MAX | Hysteresis Error Tolerance | Hysteresis Error MAX
[AsFoundResult] | [IndicatorErrorTolerance] | [IndicatorErrorMAX] | [HysteresisErrorTolerance] | [HysteresisErrorMAX]
[AsLeftResult] | [IndicatorErrorTolerance] | [IndicatorErrorMAX] | [HysteresisErrorTolerance] | [HysteresisErrorMAX]
AsFound
Calibration Cycles 1
[AsFoundCycles1Unit1] | No. | Standard |  | Tapped |  | Hysteresis Error | Indicator Error | Result
|  | Asc. | Des. | Asc. | Des.
[AsFoundCycles1Data1]
[AsFoundCycles1Data2]
[AsFoundCycles1Data3]
[AsFoundCycles1Data4]
[AsFoundCycles1Data5]
[AsFoundCycles1Data6]
[AsFoundCycles1Data7]
[AsFoundCycles1Data8]
[AsFoundCycles1Data9]
[AsFoundCycles1Data10]
[AsFoundCycles1Data11]
[AsFoundCycles1Data12]
[AsFoundCycles1Data13]
[AsFoundCycles1Data14]
[AsFoundCycles1Data15]
[AsFoundCycles1Data16]
[AsFoundCycles1Data17]
Calibration Cycles 2
[AsFoundCycles2Unit1] | No. | Standard |  | Tapped |  | Hysteresis Error | Indicator Error | Result
|  | Asc. | Des. | Asc. | Des.
[AsFoundCycles2Data1]
[AsFoundCycles2Data2]
[AsFoundCycles2Data3]
[AsFoundCycles2Data4]
[AsFoundCycles2Data5]
[AsFoundCycles2Data6]
[AsFoundCycles2Data7]
[AsFoundCycles2Data8]
[AsFoundCycles2Data9]
[AsFoundCycles2Data10]
[AsFoundCycles2Data11]
[AsFoundCycles2Data12]
[AsFoundCycles2Data13]
[AsFoundCycles2Data14]
[AsFoundCycles2Data15]
[AsFoundCycles2Data16]
[AsFoundCycles2Data17]
Calibration Cycles 3
[AsFoundCycles3Unit1] | No. | Standard |  | Tapped |  | Hysteresis Error | Indicator Error | Result
|  | Asc. | Des. | Asc. | Des.
[AsFoundCycles3Data1]
[AsFoundCycles3Data2]
[AsFoundCycles3Data3]
[AsFoundCycles3Data4]
[AsFoundCycles3Data5]
[AsFoundCycles3Data6]
[AsFoundCycles3Data7]
[AsFoundCycles3Data8]
[AsFoundCycles3Data9]
[AsFoundCycles3Data10]
[AsFoundCycles3Data11]
[AsFoundCycles3Data12]
[AsFoundCycles3Data13]
[AsFoundCycles3Data14]
[AsFoundCycles3Data15]
[AsFoundCycles3Data16]
[AsFoundCycles3Data17]
AsLeft
Calibration Cycles 1
[AsLeftCycles1Unit1] | No. | Standard |  | Tapped |  | Hysteresis Error | Indicator Error | Result
|  | Asc. | Des. | Asc. | Des.
[AsLeftCycles1Data1]
[AsLeftCycles1Data2]
[AsLeftCycles1Data3]
[AsLeftCycles1Data4]
[AsLeftCycles1Data5]
[AsLeftCycles1Data6]
[AsLeftCycles1Data7]
[AsLeftCycles1Data8]
[AsLeftCycles1Data9]
[AsLeftCycles1Data10]
[AsLeftCycles1Data11]
[AsLeftCycles1Data12]
[AsLeftCycles1Data13]
[AsLeftCycles1Data14]
[AsLeftCycles1Data15]
[AsLeftCycles1Data16]
[AsLeftCycles1Data17]
Calibration Cycles 2
[AsLeftCycles2Unit1] | No. | Standard |  | Tapped |  | Hysteresis Error | Indicator Error | Result
|  | Asc. | Des. | Asc. | Des.
[AsLeftCycles2Data1]
[AsLeftCycles2Data2]
[AsLeftCycles2Data3]
[AsLeftCycles2Data4]
[AsLeftCycles2Data5]
[AsLeftCycles2Data6]
[AsLeftCycles2Data7]
[AsLeftCycles2Data8]
[AsLeftCycles2Data9]
[AsLeftCycles2Data10]
[AsLeftCycles2Data11]
[AsLeftCycles2Data12]
[AsLeftCycles2Data13]
[AsLeftCycles2Data14]
[AsLeftCycles2Data15]
[AsLeftCycles2Data16]
[AsLeftCycles2Data17]
Calibration Cycles 3
[AsLeftCycles3Unit1] | No. | Standard |  | Tapped |  | Hysteresis Error | Indicator Error | Result
|  | Asc. | Des. | Asc. | Des.
[AsLeftCycles3Data1]
[AsLeftCycles3Data2]
[AsLeftCycles3Data3]
[AsLeftCycles3Data4]
[AsLeftCycles3Data5]
[AsLeftCycles3Data6]
[AsLeftCycles3Data7]
[AsLeftCycles3Data8]
[AsLeftCycles3Data9]
[AsLeftCycles3Data10]
[AsLeftCycles3Data11]
[AsLeftCycles3Data12]
[AsLeftCycles3Data13]
[AsLeftCycles3Data14]
[AsLeftCycles3Data15]
[AsLeftCycles3Data16]
[AsLeftCycles3Data17]